SITE SURVEY REPORT                                                                        PAGE 2

REV 1.

Planning permission status/issue of title:

Health & Safety issues including access to complete works:

Details of building form & dimensions, including sketches of each wall:

Party/separation walls & floors requiring fire barriers:

Fire separation requirements at boundary:

Exposure to impact (parking etc) & establish impact resistance required:

Exposure to heat (BBQ etc):

Close or abutting elements that could induce moisture or require special consideration, including garden walls:

Details of wall construction including inspection of tops of cavity or hollow block walls to ensure walls are sealed:

Confirm details of existing cavity/dry lining insulation:

Details of wall/roof junction:

Detail at floor/DPC level:

Evidence of dampness in walls:

Exceptional moisture on wall such as significant roof rainwater run off:

Plant growth & residues requiring cleaning off:

SITE SURVEY REPORT                                                                        PAGE 3

REV 1.

Structural condition (pull off test if appropriate):

Surface/render/paint condition:

Decorative bonding slips or facing materials:

Cracks & movement joints:

Details of openings & reveals (doors – windows):

Window sill & door threshold conditions:

Adequacy of roof overhangs:

Details of abutting roofs:

Architectural features:

Building ventilators for roof & subfloor:

Room ventilators & extractors:

SITE SURVEY REPORT                                                                        PAGE 4

REV 1.

Details of services at external walls:

Flues & Chimneys

Rainwater pipes &outlets

Foul & waste pipes & outlets

Gas pipes, brackets & meter boxes

ESB cables, brackets, meter & earth rod boxes

Outside lights & sockets

NTL/Telecoms cables & fittings

Satellite dishes & cables

Alarm boxes & cables

Affected gulleys, AJs, manholes & other covers or ground features

Other

Structural fixings such as awnings, clothes lines, gates etc

Issues raised by client

Other exceptional conditions