Specification/Technical Design of Fast EcoBuild External Insulation

House Type:

Mid Terrace

End Terrace

Detached House

Semi-Detached House

Apartment–Top, Ground or Midfloor(Tick One)

Maisonette

Contact Details:

Client:________________________________________________________________

Address: _____________________________________________________________

Site Address: __________________________________________________________

Telephone: ___________________________________________________________

Contractor: ___________________________________________________________

Address: _____________________________________________________________

Phone/Fax/ E-Mail:____________________________________________________

EWI Supervisor:_______________________________________________________

EWI Applicators:______________________________________________________

Fast EcoBuild Materials for this Project

| Code | Product | Description | Batch No | Product Used X |
| --- | --- | --- | --- | --- |
| FK001 | Fast Normal-S 25KG (see data sheet) | Adhesive for sticking insulation to substrate |  |  |
| EPSW | Standard White EPS .038W/mK | Standard White Rigid EPS Board__________mm | Keep Label |  |
| EPSG | Graphite Enhanced EPS .031W/mK | Grey/Graphite EPS Rigid Board__________mm | Keep Label |  |
| MW | Mineral Wool Board .035W/mK | Rigid 140kg Mineral Wool Wall Board______mm | Keep Label |  |
| XPS | Extruded Polystyrene Minimum density 30kg | Plinth Board _______________mm | Keep Label |  |
| FK004 | Fast Specjal-M 25kg (see data sheet) | Base Coat for bedding mesh. |  |  |
| Mesh | Fast AKE 145A | Alkali Resistance glass fibre reinforcement mesh 55m2 | N/A |  |
| FIX160 | Wkret-Met anchor. | Fixing for Insulation_______mm | N/A |  |
| AB | Profile Angle Bead | Mesh Corner Angle Bead | N/A |  |
| ST | Profile Starter Track | Aluminium Starter Track _____mm | N/A |  |
| WB | Profile Window Bead | PVC Window Bead with ARMesh Wing | N/A |  |
| FT309 | Fast Grunt M | Primer for finish render |  |  |
| FT303 | Fast Baranek A | Acrylic Render Finish |  |  |
| FT304 | Fast Kornik A | Acrylic Scratch Render |  |  |
| FF409 | Fast Kwarc | Acrylic Brick Finish |  |  |
| FTG20 | Fast Granite | Mosaic Render |  |  |
| MRF | Fast Baranek | Mineral Render Finish |  |  |
| MSF | Fast Kornik | Mineral Scratch Render |  |  |
| FWD | Fast WD Dash | Mineral Wet/Dry Dash Render Finish |  |  |
| FBS | Fast Baranek SIL | Silicone Render Finish |  |  |
| FKS | Fast Kornik SIL | Silicone Scratch Render Finish |  |  |
| FAZ | Fast F-AZ | Acrylic Protective Coating |  |  |
| FAC | Fast Aluminium Cill | Aluminium Overcill |  |  |
| GRC | Fast GRC Cill | GRC Concrete Overcill |  |  |

Description of Works: Install the FEB External Thermal Insulation Composite System to an existing dwelling construction of:

Hollow block                  mm

Mass concrete                  mm

Stone                mm

Cavity/Partial fill cavity                              mm

Brick               mm

Plaster

Plaster           mm	    Plasterboard            mm

Render Finish Coat

Render	 Wet Dash	 Dry Dash

Extension:

Hollow block                   mm

Mass concrete                   mm

Stone                mm

Cavity/Partial fill cavity                             mm

Brick                mm

Plaster

Plaster             mm      	 Plasterboard           mm

Render Finish Coat

Render	 Wet Dash	 Dry Dash

Details:  Standard details in FEB Contractor Pack; special details attatched

Fire barriers – see figure 11,

Fire resistance required – B

Impact resistance category – 1		II (circle one)

Top of cavity or hollow blocks – pumps cavity or seal top of hollow blocks with foam

Details at eaves – see figure 9.

Moisture – follow guidelines in FEB Code of Practice

Dampness inside walls – determine cause; recommend course of action to client

Weep holes – Do not cover weepholes.

Substrate preparation – follow guidelines in FEB Code of Practice

Movement joints – follow guidelines in FEB Code of Practice

Expansion joints: see figure 7

Window sills and door reveals – see figure 4,4a,5 & 6 see FEB Code of Practice

Reveals at openings – see figure 5; follow guidelines in FEB Code of Practice

Detailing at abutments– basetrack up side and top of wall, keep insulation >1cm off wall 	Figure 8 & FEB Fire Barrier at abutting wall.

Wall features -

Ventilation eaves – replace all ventilation that is covered by insulation; 		special detail may require figure 9

Ventilation Subfloor – extend all ventilation through ETICS, break out old vent grill

Ventilation Walls – a minimum of 6,500mm ventilation per habitable room should be 	installed prior to the installation of ETICS; rooms with solid fuel or gas fire 	sources must have permavents installed.

Flues/Chimneys – to be extended by RGI if necessary; fire barrier 200mm around flue	 (see figure ) MW to be used on chimney (never EPS) if flush with wall, or	 as fire barrier at sides if chimney protrudes from wall.

Rain water pipes/outlets – remove, extend and reattach; replace if necessary; see FEB 	Code of Practice

Waste pipes – remove, extend and reattach; replace if necessary; see FEB Code of 	Practice

Gas pipes and meters – see Bord Gas job aid for instructions and drawings

External lights/sockets/alarms – must be extended through ETICS by a competent 	professional, cables to be protected from direct contact with polystyrene; 	recommended for cables to be trunked as per ESB

Telecom/TV cables – To be extended outside ETICS, call respective service provider for 	aid; recommend for cables to be trunked as per ESB cables

Satelite/mounted objects see figure 24

Gulleys/manholes/water drainage – extend or replace as necessary; water flow or 	pooling should never be allowed directly against ETICS

- Other -

- Other -

- Other -

Areas for ETICS to be excluded/reasoning:

Special provisions for maintenance: see Home Owners Pack